Quick use notes:

Place BitControl.exe,  Parts.mdb,  and DLLPort.DLL files in the same directory.

Place ftd2xx.dll (dll from FTDI for the USB controller) in the C:\Windows\System32 folder

Be sure to allow Windows to fully install the USB device when plugging eval board’s USB in for the first time before you start the CBG program.

RFSA3713, 3174 and 3714 eval boards have jumper configurable options for chip  address, Parallel/Serial mode, and LE that need to match the database.

- RFSA3713, 3613, and 3513 have programmable address bits for serial mode that are set in the database to 000. Make sure the eval board is jumpered to match.

- RFSA3714 has no address bits, but does have the ability to do either serial or parallel mode.  To operate in serial mode, select “RFSA3714”, ensure that the PBAR line is tied to VCC.  For parallel mode, tie PBAR to ground and LE to VCC and select “RFSA3714-P” in the pulldown menu.

- RFSA3715 can also operate in serial or parallel mode, but additionally has address bits that need to be jumpered low. Select “RFSA3715” for serial mode, or “RFSA3715-P” for parallel mode.

- Several Variable Gain Amplifiers have a separate parallel-control header with a second supply pin that needs to be connected in addition to the more obvious VCC bias connections. Be sure to check for this pin if encountering difficulties getting this family of parts to function.